{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Input","Resultat","Herz"],"not_rendered":{"charts":2,"images":1,"macros":1,"external_links":0,"defined_names":30,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Input","index":0,"n_rows":37,"n_cols":18,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
["Kalibreringsfunksjon for ledningskohorters levetidskurve",null,null,null,null,null,null,null,"Versjon 22.00"]
["Laget av:","Martin Okstad"]
[]
[null,null,"Operative ledninger",null,null,null,"Nedlagte/renoverte ledninger",null,null,null,"Innstillinger"]
[null,null,"LSID*","Lengde [m]","Leggeår",null,"LSID*","Lengde [m]","Alder"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Første analyseår",":",2025]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Rehabiliteringsrate fra start",":",1,"%"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Ved evt. endret rehabiliteringsrate:"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Ny rehabiliteringsrate fra år",2027,":",0.9,"%"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Ny rehabiliteringsrate fra år",2029,":",0.8,"%"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"Avanserte innstillinger"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Øvre grenseverdi for standardavvik",":",55,"%"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Nedre grenseverdi for standardavvik",":",8,"%"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Antall operative ledninger",":",{"$f":"COUNT(E6:E1048576)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Antall rehabiliterte ledninger",":",{"$f":"COUNT(I6:I1048576)","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Totalt",":",{"$f":"Q32+Q33","v":0}]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"*LSID er ikke nødvendig for kalibreringen"]

{"sheet":"Resultat","index":1,"n_rows":8,"n_cols":11,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
["Kalibreringsfunksjon for ledningskohorters levetidskurve"]
["Laget av:","Martin Okstad"]
[]
[null,null,"Kalibrert levetidskurve",null,null,null,"Kalibrerte verdier for bruk i CARE-W LTP"]
[null,null,"%","Lengde [m]","Alder","Status"]
[null,null,null,null,null,null,null,null,null,1,":"]
[null,null,null,null,null,null,null,null,null,0.5,":"]
[null,null,null,null,null,null,null,null,null,0.1,":"]

{"sheet":"Herz","index":2,"n_rows":17,"n_cols":15,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
["Kalibreringsfunksjon for ledningskohorters levetidskurve"]
["Laget av:","Martin Okstad"]
[]
[null,null,"Kalibrert levetidskurve",null,null,null,null,null,null,null,null,null,"Minste kvadraters metode"]
[null,null,"%","Lengde [m]","Alder",null,"t","Y(t)","F(t)","(Y-F)^2","(Y-Ygj.snitt)^2"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Ygj.snitt",":"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"SSres",":"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"SStot",":"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"R^2",":"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,"Herz-parametre"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"a",":"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"b",":"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"c",":"]